Bid Bulletin No: **2020-001**

Date: **October 15, 2020**

This Bid Bulletin No: **2020-001** is issued to modify or amend the Bid Documents of the project **PROCUREMENT OF VARIOUS COMMON COVID-19 MEDICAL SUPPLIES UNDER BAYANIHAN ACT 2 (IB No. BAC II 2019 – 012)**. This shall form the integral part of Bid Documents.

|  |  |  |
| --- | --- | --- |
| **Item No.** | **ORIGINAL** | **AMENDED** |
| 3 | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, XXL | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, XXL, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 4 | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, large | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, large, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 5 | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, medium | Coverall with hood, disposable/ single use, Full-body protective against particulates (Type 5) or light liquid splashes (Type 6), fluid resistant, medium, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 7 | Disinfectant - Hand rub: 2- Propanol, 1- Propanol, Mecetronium ethylsulfate, Glycerol, Tetradecan - 1-ol, fragrances, patent blue V, 85% purified water (Classic Hand Rub) at least 0.5 Liter to 1Liter /bottle  Unit of Issue: piece | Disinfectant - Hand rub: 2- Propanol, 1- Propanol, Mecetronium ethylsulfate, Glycerol, Tetradecan - 1-ol, fragrances, patent blue V, 85% purified water (Classic Hand Rub) at least 0.5 Liter to 1Liter /bottle  Unit of Issue: bottle |
| 8 | Disinfectant wipes, Surface EPA-registered, bactericidal, virucidal, tuberculocidal, for blood spills and contaminated equipment, compatible with hospital-grade surfaces, stainless steel, porcelain, glass, plastic, glazed ceramic, not easily torn, absorbent, for healthcare use 80-100 sheets/pack  Unit of issue: piece | Disinfectant wipes, Surface EPA-registered or its equivalent registration agency, bactericidal, virucidal, tuberculocidal, for blood spills and contaminated equipment, compatible with hospital-grade surfaces, stainless steel, porcelain, glass, plastic, glazed ceramic, not easily torn, absorbent, for healthcare use, minimum of 80 sheets per pack/canister  Unit of issue: pack/canister |
| 9 | Disinfectant Wipes for Ultrasound Probe, sheets  Unit of issue: piece | Disinfectant Wipes for Ultrasound Probe, minimum of 80 sheets per pack/canister, alcohol free  Unit of issue: pack/canister |
| 10 | Gloves, Clean Large Size, Natural Rubber Latex, Smooth Surface, Beaded Cuff, High Strength And Elasticity | Gloves, Clean Large Size, Natural Rubber Latex, Smooth Surface, Beaded Cuff, High Strength And Elasticity, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 11 | Gloves, Clean Medium Size, Natural Rubber Latex, Smooth Surface, Beaded Cuff, High Strength And Elasticity | Gloves, Clean Medium Size, Natural Rubber Latex, Smooth Surface, Beaded Cuff, High Strength And Elasticity, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 12 | Gloves, Nitrile Examination, large, disposable, powder free, ambidextrous, Powder Free, non sterile, 100pcs/box | Gloves, Nitrile Examination, large, disposable, powder free, ambidextrous, Powder Free, non sterile, 100pcs/box, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 13 | Gloves, Nitrile Examination, medium, disposable, powder free, ambidextrous, Powder Free, non sterile, 100pcs/box | Gloves, Nitrile Examination, medium, disposable, powder free, ambidextrous, Powder Free, non sterile, 100pcs/box, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 14 | Gloves, Sterile, S. 6.5, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use 50'S | Gloves, Sterile, S. 6.5, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use 50'S, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 15 | Gloves, Sterile, S. 7.0, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use, 50'S | Gloves, Sterile, S. 7.0, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use, 50'S, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 16 | Gloves, Sterile, S. 7.5, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use, 50'S | Gloves, Sterile, S. 7.5, Beaded Cuff, 290Mm Length, 0.20-0.24Mm Finger Thickness, Powder-Free With Fda Approved Usp Cornstarch Packed In Water Resistant Non-Fibre Peel Packaging, Ward Use, 50'S, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 17 | Mask, Face earloor, disposable, 3 ply consisting of an outer hydrophobic non-woven layer (translucent), middle melt-brown layer (white), and an inner soft absorbent non-woven layer( green, blue, or white), water repellant | Mask, Face earloop, disposable, 3 ply consisting of an outer hydrophobic non-woven layer (translucent), middle melt-blown layer (white), and an inner soft absorbent non-woven layer (green, blue, or white), water repellant, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018) |
| 18 | N95 mask, small, NIOSH-certified, particulate respirator, hospital grade, water repellent  Qty: 25,800  Total ABC: 3,225,000.00 | N95 mask, small, NIOSH-certified, particulate respirator, hospital grade, water repellent, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018)  Qty: 15,500  Total ABC: 1,937,500.00 |
| 21 | Additional: item No. 21 | N95 mask, medium, NIOSH-certified, particulate respirator, hospital grade, water repellent, must submit a Certificate of Product Notification or Certificate of Product Registration from manufacturer/ distributor (FDA Circular 2020-018)  Qty: 10,300  Total ABC: 1,287,500.00 |
| SECTION VI. Schedule of requirements | |  |
|  | For all items:  As stated in the Delivery Schedule | For all items:  10 working days upon receipt of Purchase Order  *Please see attachment “A” for the revised Schedule of requirement* |
| SECTION VII. TECHNICAL SPECIFICATION   * Please see attachment “B” for the revised | | |
| BID DATA SHEET   * Please see attachment “C” for the revised Bid Data Sheet for ITB Clause 19.3 | | |
| **OTHER ISSUES AND CONCERNS** | | |
|  | Opening of Bids:  October 19, 2020; 9:00 am, Small Conference Room, 2nd Floor Cancer Center Institute, BGHMC, Baguio City | Opening of Bids:  October 20, 2020; 9:00 am, Secretary’s Cottage, BGHMC |
|  | Submission of Biding Documents  On or before October 19, 2020, 8:30 a.m. Philippine Standard Time (PST) at the Bids and Awards Committee (BAC) II Office/ Procurement Management Office (PMO). | Submission of Biding Documents  On or before October 20, 2020, 8:30 a.m. Philippine Standard Time (PST) at the Bids and Awards Committee (BAC) II Office/ Procurement Management Office (PMO) for physical submission.  On or before October 20, 2020, 8:30 a.m. Philippine Standard Time (PST) at the link provided in the Bidding Documents for electronic submission. |

**BIDS AND AWARDS COMMITTEE II**

**EULINA L. LAGDAO, MD**

BAC II Chairperson

**RANDY S. OCCIDENTAL, RN**

BAC II Vice-Chairperson

**LANI TERESITA L. RAMOS, RN BEVERLY P. CARBONELL, MD**

BAC II Member BAC II Member

**LORAINE C. RAMOS, RN CHERRYBELLE L. GAWIDAN, RPh**

BAC II Member BAC II Member

**ALMA AUREA C. BUDUAN**

BAC II Member

APPROVED BY:

**RICARDO B. RUNEZ, JR., MD, FPCS, MHA, CESE**

Medical Center Chief II